1. Plan A – “Zyoptics will give us a copy of their AO software.. Compile & Run!”

[Diagram of Zyoptics System Feb 2001]

- Received a port of  Hokupa’a from VXWorks/RTLinux (20% completed).

- Just enough to sample sensor data & check timing. (Does not output to D.Mirror).

- All of the higher level function also commented out.

- Major issues not addressed:

- LP_SHMEM – pointers problem.

- Semaphore – resource locking/protections.

- Zyoptics software was configured to their hardware setup – slightly difference from IRTF hardware.

2. Plan B – “Oh no….. what’s plan B?”

[Diagram of AO software for IRTF]

- Zyoptics software can be used as raw material for IRTF system.

- Implement similar structure in RTLinux.

- Reverse engineer & import code from zyoptics system to IRTF system.

- Implement additional IRTF requirements.

3. Porkly the Guider

[Diagram of Guider Computer System]

- Detailed Design to be done later. Currently we just have a rough outline of hardware requirements.