## Sheet1
Computers |  |  |  |  | Notes
| PC for instrument controller | 1 | 500 | 500
Motor Controller
| DMC-4183 | 2 | 2300 | 4600 | no spare; use spex as spare
| RIO 27120 | 2 | 400 | 800
| Stepper Drivers | 15 | 260 | 3900
| warm motors | 3 | 70 | 210
| cold motor | 11 |  | 0 | Not Included here
| wam versions of cold motors | 3 | 250 | 750
Serial Port Server |  |  |  | 0
| Digi Port TS4 | 2 | 450 | 900
AC Power Control |  |  |  | 0
| WTI NPS-8H220 | 2 | 700 | 1400
Temperature Control |  |  |  | 0
| TC335 | 5 | 2900 | 14500 | Not sure what grating will use. Spex has a spare
| TC218 | 1 | 1500 | 1500 | spex has a spare.
| GPIB-to-ethernet | 5 | 200 | 1000
Electronic material |  |  |  | 0
| comparator board | 2 | 500 | 1000
| Rackmount boxes | 5 | 600 | 3000
| connector, wiring, PS | 1 | 3000 | 3000
|  |  | Total = | 37060