## AcrECB5
Option 1 - Liquid Cooled Regenerative Variable Frequency Drive with 3 Separate Overloads
Qty/Item | Part Number and Description
PowerFlex700L liquid Cooled AC Drive 480 VAC 3 PH, 700
1 | Vector 115V 1/0
1 | Main Molded Case Circuit Breaker Disconnect
1 | NEMA 1 Enclosure
3 | T1 MC8 Overload Relay, IEC, Bimetalic 35.0470A
1 | Input Reactor
1 | Door Mounted HIM with FuH Numeric "c;vue,u
3 | Invertor Duty Motors 1000: 1 256TC C-Face Footed
1 | Ethernet Communication Module
Note: | Hook up of Coolant plumbing to Drive done by others.
Reference OneSource/Berkley quote# 83120087
Grand total $ 44,168.00