## Summary
Date | HA | Dec | Comment
2001-03-01 | 19.9398 | 19.962 | IRTF hire J.Harwood to do a pointing run. Ration were also determined. See history/0103_tcs1
2005-06-01 | 19.9306 | 19.9695 | orginial tcs3 encoder ratio were determine by hand. Used during deveopment
2008-01-22 | 19.9466 | 19.9242 | used encoder_util. High (but constant) HA error - forgot to initialize pmac at Zenith at start. Error -mean are < 10 exeept for #3, #8 (-21, 28 as).
2008-05-20 | 19.9562 | 19.9238 | used encoder_util. 1 day before pointing run. HA gear clear; Dec gears not cleaned (daycrew to do tomorrow)
2008-05-21 | 19.962 | 19.9242 | used encoder_util. Dec bullgear was cleaned. Modified TCS3 to used these values.
2008-06-24 | 19.9421 | 19.9246 | measured the encoders, as the 23June engineer showned lots of errors in the HA ratios (150" at 3.0 hrs). Previous encoder measurement (of 19.961) is wrong?
2008-07-14 | 19.9495 | 19.9263 | Measured encoder ration 1 day before tcs3 pointing run.
2008-07-15 | 19.9532 | 19.9248 | for tcs3 engineering
2008-11-24 | 19.944 | 19.9244 | Nov 25 tcs3 pointing run
2009-07-14 | 19.9529 | 19.9254 | July 14 tcs3 pointing run
2010-01-14 | 19.9561 | 19.9258 | July 14 tcs3 pointing run
2011-04-28 | 19.9594 | 19.9241 | March 28, 2011 pointing run
2011-08-08 | 19.9573 | 19.9239 | Aug 09, 2011 pointing run
2011-10-12 | 19.9315 | 19.9244 | Oct 12, 2011 - after complains of bad tracking
2011-10-28 | 19.9349 | 19.9245 | Oct 28, 2011 - for oct 29 pointing run.
2016-03-11 | 19.9428 | 19.9262 | March 28, 2016 pointing run
2017-03-10 | 19.9545 | 19.9259 | March 13, 2017 pointing run
2019-04-10 | 19.947 | 19.9272 | April 4, 2019 pointing run
2022-06-20 | 19.953 | 19.928 | Jun 20 2022 - after HA encoder P/S fix.

## 7.14.2008
2008-07-14
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -3.6361e-06 | -16 | -1.3889e-05 |  |  |  |  | 0.052025
| -0.26169 | -1076555 | -0.99959 | -0.99957 | -53977.05 | -1076539 | 19.9444 | -13.8009
| -0.52333 | -2153070 | -1.999 | -0.99937 | -53965.95 | -1076515 | 19.948 | -17.7568
| -1.0465 | -4305799 | -3.9972 | -1.9982 | -107902.6499 | -2152729 | 19.9507 | -11.5067
| -5.5996e-05 | -14 | -0.00021389 | 3.9969 | 215834.8499 | 4305785 | 19.9494 | -10.8482
| 0.26158 | 1076526 | 0.99918 | 0.99939 | 53967.1501 | 1076540 | 19.9481 | -6.9454
| 0.52318 | 2153040 | 1.9984 | 0.99923 | 53958.5998 | 1076514 | 19.9507 | -10.2895
| 1.0463 | 4305770 | 3.9964 | 1.998 | 107892.75 | 2152730 | 19.9525 | -26.4897
| 9.454e-06 | -15 | 3.6112e-05 | -3.9964 | -215804.9999 | -4305785 | 19.9522 | 2.7019
[6 empty] | Average | 19.9495
| Dec APES radians | counts | radians to Degrees | Dist APE(hr) |  | Dist Cnt | Ratio | Using Ration
| 0.34906 | 1434539 | 19.9999 |  |  |  |  | 7.5055
| 0.086834 | 356800 | 4.9752 | -15.0248 |  | -1077739 | 19.9253 | 4.7032
| -0.17532 | -720907 | -10.0453 | -15.0204 |  | -1077707 | 19.9304 | 15.795
| -0.69957 | -2875908 | -40.0823 | -30.0371 |  | -2155001 | 19.9291 | 31.0524
| 0.34905 | 1434539 | 19.9993 | 60.0816 |  | 4310447 | 19.9287 | 5.1054
| 0.61134 | 2512277 | 35.027 | 15.0278 |  | 1077738 | 19.9213 | 18.7579
| 0.87356 | 3589983 | 50.0511 | 15.0241 |  | 1077706 | 19.9255 | 20.8162
| 1.0484 | 4308410 | 60.0667 | 10.0156 |  | 718427 | 19.9252 | 22.7799
| 0.34909 | 1434538 | 20.0014 | -40.0653 |  | -2873872 | 19.9249 | 12.7556
[6 empty] | Average | 19.9263

## 7.15.2008
2008-07-15
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.17656 | 726442 | 0.67441 |  |  |  |  | 10.8987
| -0.27242 | -1120979 | -1.0406 | -1.715 | -92608.8983 | -1847421 | 19.9486 | -10.5054
| -0.52668 | -2167249 | -2.0118 | -0.97119 | -52444.3269 | -1046270 | 19.9501 | -18.7511
| -1.0603 | -4363557 | -4.0501 | -2.0383 | -110069.8794 | -2196308 | 19.9538 | -15.9106
| 0.1766 | 726441 | 0.67456 | 4.7247 | 255131.1209 | 5089998 | 19.9505 | 18.9651
| 0.43649 | 1796020 | 1.6673 | 0.9927 | 53605.5811 | 1069579 | 19.9528 | 20.2841
| 0.7026 | 2891222 | 2.6837 | 1.0165 | 54889.3848 | 1095202 | 19.9529 | 21.2548
| 1.0542 | 4338710 | 4.0267 | 1.3429 | 72518.1573 | 1447488 | 19.9604 | -4.5758
| -0.0010665 | -5103 | -0.0040738 | -4.0307 | -217659.2316 | -4343813 | 19.9569 | 35.7646
[6 empty] | Average | 19.9532
| Dec APES radians | counts | radians to Degrees | Dist APE(hr) |  | Dist Cnt | Ratio | Using Ration
| 0.34505 | 1418026 | 19.77 |  |  |  |  | 3.1027
| 0.084584 | 347577 | 4.8463 | -14.9237 |  | -1070449 | 19.9245 | 2.1724
| -0.18419 | -757144 | -10.5533 | -15.3996 |  | -1104721 | 19.927 | 8.2768
| -0.69599 | -2860950 | -39.8772 | -29.3239 |  | -2103806 | 19.9288 | 29.406
| 0.34063 | 1399759 | 19.5165 | 59.3937 |  | 4260709 | 19.9268 | 7.501
| 0.60705 | 2494519 | 34.7816 | 15.2651 |  | 1094760 | 19.9213 | 17.1581
| 0.86394 | 3550172 | 49.5 | 14.7184 |  | 1055653 | 19.9232 | 21.3797
| 1.0478 | 4305743 | 60.0344 | 10.5344 |  | 755571 | 19.9234 | 24.1505
| 0.34153 | 1403314 | 19.568 | -40.4663 |  | -2902429 | 19.9235 | 14.4008
[6 empty] | Average | 19.9248

## 11.25.2008
2008-11-25
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -0.00012473 | -514 | -0.00047643 |  |  |  |  | 0.044948
| -0.26191 | -1077370 | -1.0004 | -0.99995 | -53997.0583 | -1076856 | 19.9429 | -3.0538
| -0.52381 | -2154794 | -2.0008 | -1.0004 | -54020.009 | -1077424 | 19.9449 | -0.62354
| -1.0475 | -4309518 | -4.0012 | -2.0004 | -108023.2168 | -2154724 | 19.9469 | 14.8207
| -1.1864e-05 | 102 | -4.5317e-05 | 4.0012 | 216063.5642 | 4309620 | 19.9461 | -7.5614
| 0.26187 | 1077459 | 1.0003 | 1.0003 | 54016.4948 | 1077357 | 19.945 | -10.1465
| 0.52377 | 2154810 | 2.0007 | 1.0004 | 54021.5463 | 1077351 | 19.943 | -7.3792
| 1.0476 | 4309514 | 4.0016 | 2.001 | 108052.4266 | 2154704 | 19.9413 | 7.3891
| -8.3203e-05 | -84 | -0.00031781 | -4.0019 | -216105.1824 | -4309598 | 19.9421 | -12.9501
[6 empty] | Average | 19.944
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434586 | 19.9988 |  |  |  |  | -6.148
| 0.087238 | 358708 | 4.9984 | -15.0004 | -54001.5266 | -1075878 | 19.9231 | -9.438
| -0.17453 | -717261 | -10 | -14.9984 | -53994.2593 | -1075969 | 19.9275 | -0.89341
| -0.69805 | -2869146 | -39.9953 | -29.9953 | -107982.9028 | -2151885 | 19.928 | 19.1515
| 0.34905 | 1434557 | 19.9989 | 59.9942 | 215979.2394 | 4303703 | 19.9265 | -4.1417
| 0.61093 | 2510551 | 35.0038 | 15.0048 | 54017.383 | 1075994 | 19.9194 | 9.1826
| 0.87276 | 3586528 | 50.0054 | 15.0016 | 54005.7111 | 1075977 | 19.9234 | 11.6884
| 1.0473 | 4303854 | 60.0062 | 10.0008 | 36002.9632 | 717326 | 19.9241 | 12.1131
| 0.34909 | 1434675 | 20.0017 | -40.0045 | -144016.2572 | -2869179 | 19.9226 | -0.2641
[6 empty] | Average | 19.9243

## 07.14.09
2009-07-14
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -4.4872e-05 | -58 | -0.0001714 |  |  |  |  | -6.3487
| -0.26176 | -1076954 | -0.99986 | -0.99969 | -53983.332 | -1076896 | 19.9487 | -17.8461
| -0.52345 | -2153958 | -1.9994 | -0.99956 | -53975.9745 | -1077004 | 19.9534 | -16.5734
| -1.0467 | -4307966 | -3.9982 | -1.9988 | -107935.1482 | -2154008 | 19.9565 | 2.773
| -9.7045e-05 | -43 | -0.00037068 | 3.9978 | 215883.6932 | 4307923 | 19.9548 | -17.8619
| 0.26163 | 1076972 | 0.99934 | 0.99971 | 53984.2105 | 1077015 | 19.9506 | -11.45
| 0.52333 | 2153978 | 1.999 | 0.99963 | 53979.8179 | 1077006 | 19.952 | -8.9797
| 1.0467 | 4307941 | 3.998 | 1.999 | 107947.6666 | 2153963 | 19.9538 | -13.5523
| -2.0915e-05 | 26 | -7.9889e-05 | -3.9981 | -215895.992 | -4307915 | 19.9537 | -5.6171
[6 empty] | Average | 19.9529
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434500 | 19.9989 |  |  |  |  | 2.7871
| 0.087276 | 358706 | 5.0006 | -14.9984 | -53994.1493 | -1075794 | 19.9243 | -0.39238
| -0.17447 | -717196 | -9.9962 | -14.9967 | -53988.2029 | -1075902 | 19.9285 | 7.7947
| -0.69794 | -2868965 | -39.9891 | -29.9929 | -107974.5342 | -2151769 | 19.9285 | 24.284
| 0.34905 | 1434477 | 19.9994 | 59.9885 | 215958.4279 | 4303442 | 19.9272 | 5.4829
| 0.6109 | 2510413 | 35.0023 | 15.0029 | 54010.4461 | 1075936 | 19.9209 | 17.8326
| 0.8727 | 3586321 | 50.0018 | 14.9996 | 53998.4436 | 1075908 | 19.9248 | 19.585
| 1.0472 | 4303596 | 60.0013 | 9.9994 | 35998.0081 | 717275 | 19.9254 | 19.6484
| 0.34911 | 1434625 | 20.0026 | -39.9987 | -143995.3358 | -2868971 | 19.9241 | 9.6171
[6 empty] | Average | 19.9254

## 04.28.11
2011-04-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.4526e-05 | -49 | -5.5485e-05 |  |  |  |  | -0.54122
| -0.26174 | -1077474 | -0.99977 | -0.99971 | -53984.5399 | -1077425 | 19.958 | -4.2296
| -0.52342 | -2154946 | -1.9993 | -0.99954 | -53975.0962 | -1077472 | 19.9624 | 3.8804
| -1.0467 | -4309842 | -3.9982 | -1.9989 | -107938.113 | -2154896 | 19.9642 | 29.775
| -2.5174e-05 | -3 | -9.6158e-05 | 3.9981 | 215895.5528 | 4309839 | 19.9626 | -5.0422
| 0.26172 | 1077478 | 0.99969 | 0.99979 | 53988.6029 | 1077481 | 19.9576 | -0.096506
| 0.52347 | 2154930 | 1.9995 | 0.9998 | 53989.2619 | 1077452 | 19.9568 | 6.9612
| 1.0469 | 4309788 | 3.999 | 1.9995 | 107975.6683 | 2154858 | 19.9569 | 20.5256
| -6.1908e-05 | -82 | -0.00023647 | -3.9993 | -215961.11 | -4309870 | 19.9567 | -8.6611
[6 empty] | Average | 19.9594
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434574 | 19.9989 |  |  |  |  | -5.9683
| 0.087259 | 358767 | 4.9996 | -14.9993 | -53997.5626 | -1075807 | 19.9233 | -8.2931
| -0.17452 | -717217 | -9.9993 | -14.9989 | -53996.0212 | -1075984 | 19.9271 | -0.19277
| -0.69807 | -2869174 | -39.9964 | -29.9971 | -107989.5095 | -2151957 | 19.9275 | 17.9887
| 0.34905 | 1434538 | 19.9991 | 59.9956 | 215984.0844 | 4303712 | 19.9261 | -3.1703
| 0.61093 | 2510527 | 35.0037 | 15.0046 | 54016.3919 | 1075989 | 19.9197 | 8.8491
| 0.87275 | 3586484 | 50.005 | 15.0013 | 54004.72 | 1075957 | 19.9234 | 10.8028
| 1.0473 | 4303795 | 60.006 | 10.001 | 36003.5139 | 717311 | 19.9234 | 12.1545
| 0.34912 | 1434728 | 20.003 | -40.003 | -144010.8617 | -2869067 | 19.9226 | 1.0575
[6 empty] | Average | 19.9241

## 08.09.11
2011-04-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.1864e-05 | -53 | -4.5317e-05 |  |  |  |  | 0.20854
| -0.26185 | -1077836 | -1.0002 | -1.0001 | -54007.7102 | -1077783 | 19.9561 | -3.0857
| -0.52365 | -2155689 | -2.0002 | -1 | -54000.1331 | -1077853 | 19.9602 | 4.7046
| -1.0472 | -4311340 | -3.9999 | -1.9997 | -107982.4766 | -2155651 | 19.963 | 35.3189
| -3.7951e-05 | 58 | -0.00014496 | 3.9997 | 215984.9391 | 4311398 | 19.9616 | -10.7342
| 0.26183 | 1077897 | 1.0001 | 1.0003 | 54013.7497 | 1077839 | 19.9549 | -4.2064
| 0.5237 | 2155705 | 2.0004 | 1.0003 | 54014.8478 | 1077808 | 19.9539 | 4.9728
| 1.0474 | 4311305 | 4.0009 | 2.0005 | 108026.2914 | 2155600 | 19.9544 | 20.7287
| -7.2023e-05 | -92 | -0.00027511 | -4.0011 | -216061.9167 | -4311397 | 19.9545 | -10.246
[6 empty] | Average | 19.9573
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34906 | 1434507 | 19.9995 |  |  |  |  | -1.3738
| 0.087259 | 358694 | 4.9996 | -14.9999 | -53999.6548 | -1075813 | 19.9226 | -4.8443
| -0.17451 | -717223 | -9.9986 | -14.9982 | -53993.3785 | -1075917 | 19.9268 | 3.1812
| -0.69802 | -2869032 | -39.9935 | -29.9949 | -107981.4713 | -2151809 | 19.9276 | 23.2634
| 0.34907 | 1434492 | 20.0002 | 59.9936 | 215977.0371 | 4303524 | 19.9258 | 1.9115
| 0.61094 | 2510427 | 35.0043 | 15.0041 | 54014.8505 | 1075935 | 19.9192 | 14.4545
| 0.87275 | 3586326 | 50.0052 | 15.0009 | 54003.1786 | 1075899 | 19.9229 | 17.1324
| 1.0473 | 4303591 | 60.0053 | 10.0002 | 36000.6507 | 717265 | 19.9237 | 17.4995
| 0.34912 | 1434607 | 20.003 | -40.0023 | -144008.4392 | -2868984 | 19.9223 | 6.3802
[6 empty] | Average | 19.9239

## 10.12.11
2011-04-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -0.00031639 | -1306 | -0.0012085 |  |  |  |  | 0.2651
| -0.26218 | -1077823 | -1.0014 | -1.0002 | -54012.8712 | -1076517 | 19.9307 | -1.791
| -0.52434 | -2155659 | -2.0028 | -1.0014 | -54074.5852 | -1077836 | 19.9324 | 0.61545
| -1.0486 | -4311274 | -4.0054 | -2.0026 | -108138.5185 | -2155615 | 19.9338 | 13.2206
| -3.5289e-05 | 13 | -0.00013479 | 4.0053 | 216283.9552 | 4311287 | 19.9335 | -7.9311
| 0.26215 | 1077855 | 1.0013 | 1.0015 | 54079.0873 | 1077842 | 19.9308 | -6.1365
| 0.52431 | 2155670 | 2.0027 | 1.0014 | 54074.9146 | 1077815 | 19.9319 | -7.16
| 1.0487 | 4311249 | 4.0057 | 2.0029 | 108158.614 | 2155579 | 19.9298 | 2.1367
| -0.00012633 | -42 | -0.00048253 | -4.0061 | -216331.3937 | -4311291 | 19.9291 | -23.9494
[6 empty] | Average | 19.9315
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434486 | 19.9991 |  |  |  |  | 0.38709
| 0.087279 | 358740 | 5.0007 | -14.9983 | -53994.039 | -1075746 | 19.9234 | -2.3515
| -0.17447 | -717156 | -9.9965 | -14.9973 | -53990.1851 | -1075896 | 19.9276 | 6.2923
| -0.69797 | -2868953 | -39.9906 | -29.9941 | -107978.8287 | -2151797 | 19.928 | 25.3723
| 0.34906 | 1434454 | 19.9997 | 59.9904 | 215965.3652 | 4303407 | 19.9264 | 4.3056
| 0.61092 | 2510368 | 35.0032 | 15.0035 | 54012.6482 | 1075914 | 19.9197 | 17.2215
| 0.87273 | 3586255 | 50.0035 | 15.0002 | 54000.8659 | 1075887 | 19.9235 | 19.7103
| 1.0473 | 4303515 | 60.0034 | 9.9999 | 35999.6598 | 717260 | 19.9241 | 20.3516
| 0.34913 | 1434631 | 20.0034 | -40 | -143999.8503 | -2868884 | 19.9228 | 8.7457
[6 empty] | Average | 19.9244

## 10.28.11
2011-04-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -8.67e-06 | -31 | -3.3117e-05 |  |  |  |  | -0.23325
| -0.26214 | -1077820 | -1.0013 | -1.0012 | -54067.4474 | -1077789 | 19.9342 | -2.1356
| -0.52425 | -2155646 | -2.0025 | -1.0012 | -54065.9101 | -1077826 | 19.9354 | -0.64453
| -1.0484 | -4311254 | -4.0047 | -2.0022 | -108119.3016 | -2155608 | 19.9373 | 12.649
| -6.7764e-05 | 0 | -0.00025884 | 4.0045 | 216240.4701 | 4311254 | 19.9373 | -13.9773
| 0.26206 | 1077838 | 1.001 | 1.0013 | 54068.1062 | 1077838 | 19.9348 | -13.8742
| 0.52418 | 2155649 | 2.0022 | 1.0012 | 54066.5689 | 1077811 | 19.9349 | -13.954
| 1.0485 | 4311214 | 4.0048 | 2.0026 | 108141.1541 | 2155565 | 19.9329 | -3.2379
| -0.00017211 | -44 | -0.00065742 | -4.0055 | -216297.3523 | -4311258 | 19.9321 | -33.2933
[6 empty] | Average | 19.9349
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434506 | 19.999 |  |  |  |  | -0.72055
| 0.087282 | 358769 | 5.0009 | -14.9982 | -53993.3783 | -1075737 | 19.9235 | -3.3375
| -0.17446 | -717103 | -9.996 | -14.9969 | -53988.8638 | -1075872 | 19.9277 | 5.3357
| -0.69795 | -2868860 | -39.9895 | -29.9935 | -107976.5162 | -2151757 | 19.928 | 24.546
| 0.34905 | 1434447 | 19.9989 | 59.9884 | 215958.318 | 4303307 | 19.9266 | 1.8003
| 0.6109 | 2510343 | 35.0021 | 15.0032 | 54011.547 | 1075896 | 19.9197 | 14.6057
| 0.8727 | 3586224 | 50.0022 | 15.0001 | 54000.4258 | 1075881 | 19.9236 | 17.0427
| 1.0472 | 4303471 | 60.002 | 9.9998 | 35999.3294 | 717247 | 19.9239 | 18.0643
| 0.34911 | 1434623 | 20.0025 | -39.9996 | -143998.4188 | -2868848 | 19.9228 | 5.8502
[6 empty] | Average | 19.9245

## 03.11.16
2016-03-11
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.3994e-05 | -52 | -5.3453e-05 |  |  |  |  | -0.27901
| -0.26176 | -1076508 | -0.99983 | -0.99978 | -53988.0538 | -1076456 | 19.9388 | -11.1952
| -0.52341 | -2152992 | -1.9993 | -0.99946 | -53970.7036 | -1076484 | 19.9457 | -3.3573
| -1.0465 | -4305967 | -3.9975 | -1.9982 | -107903.3029 | -2152975 | 19.9528 | 50.774
| -4.6469e-05 | -54 | -0.0001775 | 3.9973 | 215855.3619 | 4305913 | 19.9481 | -6.8772
| 0.26172 | 1076450 | 0.99971 | 0.99988 | 53993.764 | 1076504 | 19.9376 | 7.3424
| 0.52345 | 2152969 | 1.9994 | 0.99974 | 53986.0772 | 1076519 | 19.9407 | 13.123
| 1.0469 | 4305920 | 3.9988 | 1.9994 | 107965.3462 | 2152951 | 19.9411 | 22.2384
| -0.00017797 | -69 | -0.00067978 | -3.9995 | -215972.3108 | -4305989 | 19.9377 | -33.2484
[6 empty] | Average | 19.9428
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434525 | 19.9992 |  |  |  |  | 5.024
| 0.087314 | 358800 | 5.0027 | -14.9964 | -53987.212 | -1075725 | 19.9256 | 3.3611
| -0.17442 | -717112 | -9.9937 | -14.9964 | -53986.9917 | -1075912 | 19.9291 | 11.3031
| -0.6979 | -2868923 | -39.9865 | -29.9928 | -107974.2038 | -2151811 | 19.9289 | 26.3145
| 0.34903 | 1434440 | 19.9981 | 59.9846 | 215944.6639 | 4303363 | 19.9281 | 5.546
| 0.61087 | 2510374 | 35.0005 | 15.0024 | 54008.4639 | 1075934 | 19.9216 | 17.9721
| 0.87266 | 3586280 | 49.9996 | 14.9991 | 53996.7918 | 1075906 | 19.9254 | 20.1313
| 1.0472 | 4303544 | 59.9986 | 9.999 | 35996.4664 | 717264 | 19.926 | 20.5105
| 0.34911 | 1434670 | 20.0027 | -39.996 | -143985.4254 | -2868874 | 19.9248 | 10.3002
[6 empty] | Average | 19.9262

## 03.10.17
2016-03-11
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 1.6884e-05 | 60 | 6.4492e-05 |  |  |  |  | 0.47574
| -0.26167 | -1076862 | -0.99949 | -0.99956 | -53975.9745 | -1076922 | 19.9519 | -6.7127
| -0.52326 | -2153802 | -1.9987 | -0.99923 | -53958.6246 | -1076940 | 19.9586 | 4.3508
| -1.0464 | -4307638 | -3.9968 | -1.9981 | -107894.7376 | -2153836 | 19.9624 | 46.7844
| 2.51e-06 | 28 | 9.5875e-06 | 3.9968 | 215826.3718 | 4307666 | 19.9589 | -0.88547
| 0.26175 | 1076962 | 0.9998 | 0.9998 | 53988.9323 | 1076934 | 19.9473 | 18.6594
| 0.52345 | 2153878 | 1.9994 | 0.99962 | 53979.4887 | 1076916 | 19.9505 | 29.6627
| 1.0467 | 4307650 | 3.9982 | 1.9988 | 107934.8185 | 2153772 | 19.9544 | 30.5174
| 3.3388e-05 | 12 | 0.00012753 | -3.9981 | -215896.8704 | -4307638 | 19.9523 | 6.2854
[6 empty] | Average | 19.9545
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434611 | 19.9986 |  |  |  |  | -2.0725
| 0.087269 | 358766 | 5.0001 | -14.9985 | -53994.5895 | -1075845 | 19.9251 | -4.4918
| -0.1745 | -717247 | -9.998 | -14.9981 | -53993.2684 | -1076013 | 19.9287 | 2.8413
| -0.69803 | -2869287 | -39.9943 | -29.9963 | -107986.5366 | -2152040 | 19.9288 | 18.2102
| 0.34904 | 1434592 | 19.9985 | 59.9927 | 215973.8439 | 4303879 | 19.9278 | -1.6695
| 0.61091 | 2510628 | 35.0024 | 15.004 | 54014.3 | 1076036 | 19.9213 | 10.8748
| 0.87272 | 3586640 | 50.003 | 15.0005 | 54001.9672 | 1076012 | 19.9254 | 12.2907
| 1.0472 | 4303959 | 60.0028 | 9.9998 | 35999.3294 | 717319 | 19.9259 | 12.3734
| 0.34911 | 1434796 | 20.0026 | -40.0002 | -144000.6211 | -2869163 | 19.9247 | 3.068
[6 empty] | Average | 19.9259