## Summary
Date | HA Avg | Dec Avg | HA St Dev | Dec St Dev | Comment
2001-03-01 | 19.9398 | 19.962 |  |  | IRTF hire J.Harwood to do a pointing run. Ration were also determined. See history/0103_tcs1
2005-06-01 | 19.9306 | 19.9695 |  |  | orginial tcs3 encoder ratio were determine by hand. Used during deveopment
2008-01-22 | 19.9466 | 19.9242 |  |  | used encoder_util. High (but constant) HA error - forgot to initialize pmac at Zenith at start. Error -mean are < 10 exeept for #3, #8 (-21, 28 as).
2008-05-20 | 19.9562 | 19.9238 |  |  | used encoder_util. 1 day before pointing run. HA gear clear; Dec gears not cleaned (daycrew to do tomorrow)
2008-05-21 | 19.962 | 19.9242 |  |  | used encoder_util. Dec bullgear was cleaned. Modified TCS3 to used these values.
2008-06-24 | 19.9421 | 19.9246 |  |  | measured the encoders, as the 23June engineer showned lots of errors in the HA ratios (150" at 3.0 hrs). Previous encoder measurement (of 19.961) is wrong?
2008-07-14 | 19.9495 | 19.9263 | 0.0026607 | 0.0029362 | Measured encoder ration 1 day before tcs3 pointing run.
2008-07-15 | 19.9532 | 19.9248 | 0.0038428 | 0.002498 | for tcs3 engineering
2008-11-24 | 19.944 | 19.9244 | 0.0019793 | 0.0028712 | Nov 25 tcs3 pointing run
2009-07-14 | 19.9529 | 19.9254 | 0.0024614 | 0.0025601 | July 14 tcs3 pointing run
2010-01-14 | 19.9561 | 19.9258 | 0.0026458 | 0.0026528 | July 14 tcs3 pointing run
2011-04-28 | 19.9594 | 19.9241 | 0.0031135 | 0.0026138 | March 28, 2011 pointing run
2011-08-08 | 19.9573 | 19.9239 | 0.003662 | 0.0027467 | Aug 09, 2011 pointing run
2011-10-12 | 19.9315 | 19.9244 | 0.001684 | 0.0027676 | Oct 12, 2011 - after complains of bad tracking
2011-10-28 | 19.9349 | 19.9245 | 0.0018672 | 0.0027889 | Oct 28, 2011 - for oct 29 pointing run.
2016-03-11 | 19.9428 | 19.9262 | 0.0055335 | 0.0025074 | March 28, 2016 pointing run
2017-03-10 | 19.9545 | 19.9259 | 0.005051 | 0.0024749 | March 13, 2017 pointing run
2019-04-09 | 19.947 | 19.9272 | 0.0096114 | 0.0030266 | April 4, 2019 pointing run
2022-06-20 | 19.953 | 19.928 | 0.0028253 | 0.0026422 | Jun 20 2022 - after HA encoder P/S fix. Updated TCS with these values for July 8 pointing run.
2022-07-07 | 19.9591 | 19.9283 | 0.0034402 | 0.0026152 | July 7 2022 - a day before pointing run.
2023-10-26 | 19.9403 | 19.9285 | 0.014681 | 0.0032028 | October 26 2023 - a day before pointing run.
2023-11-02 | 19.9496 | 19.9291 | 0.0027302 | 0.0028377 | November 02 2023 - redo of 10/26/2023 due to a bad data point
2024-06-18 | 19.9545 | 19.929 | 0.0043473 | 0.0031462 | June 2024 - Done by Alex Seigel.. Value not used.
2025-04-16 | 19.9685 | 19.93 | 0.0041682 | 0.0028633 | For Apr 21 pointing run. Updated TCS with these values.

## 04.16.2025
2025-04-16
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.00014945 | 612 | 0.00057085 |  |  |  |  | 0.17739
| -0.26141 | -1076895 | -0.99852 | -0.99909 | -53950.9377 | -1077507 | 19.972 | 9.5648
| -0.52299 | -2154324 | -1.9977 | -0.99915 | -53954.0123 | -1077429 | 19.9694 | 11.9714
| -1.0462 | -4309290 | -3.9962 | -1.9986 | -107921.861 | -2154966 | 19.9678 | 8.3568
| 4.107e-06 | 290 | 1.5688e-05 | 3.9962 | 215796.8324 | 4309580 | 19.9705 | -13.6757
| 0.2615 | 1077685 | 0.99885 | 0.99884 | 53937.2112 | 1077395 | 19.975 | -31.1808
| 0.5231 | 2155047 | 1.9981 | 0.99923 | 53958.4049 | 1077362 | 19.9665 | -25.8396
| 1.0464 | 4309765 | 3.997 | 1.9989 | 107942.7251 | 2154718 | 19.9617 | 11.0587
| -9.203e-06 | 478 | -3.5153e-05 | -3.9971 | -215841.0865 | -4309287 | 19.9651 | -25.836
[6 empty] | Average | 19.9685
[6 empty] | St Dev | 0.0041682
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34906 | 1434772 | 19.9997 |  |  |  |  | 8.1489
| 0.087298 | 358776 | 5.0018 | -14.9979 | -53992.2773 | -1075996 | 19.9287 | 4.7027
| -0.17444 | -717352 | -9.9948 | -14.9967 | -53987.9828 | -1076128 | 19.9327 | 12.1741
| -0.69792 | -2869590 | -39.9877 | -29.9929 | -107974.4241 | -2152238 | 19.9329 | 27.7553
| 0.34906 | 1434764 | 19.9994 | 59.9871 | 215953.6931 | 4304354 | 19.9318 | 7.5592
| 0.61091 | 2510905 | 35.0027 | 15.0033 | 54011.9875 | 1076141 | 19.9241 | 23.4403
| 0.87269 | 3587020 | 50.0015 | 14.9988 | 53995.6908 | 1076115 | 19.9296 | 24.3291
| 1.0472 | 4304422 | 60 | 9.9984 | 35994.3743 | 717402 | 19.9309 | 22.5701
| 0.34913 | 1434898 | 20.0034 | -39.9966 | -143987.6277 | -2869524 | 19.929 | 15.2606
[6 empty] | Average | 19.93
[6 empty] | St Dev | 0.0028633

## 06.18.24
2025-04-16
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.00016063 | 658 | 0.00061355 |  |  |  |  | 0.15661
| -0.26165 | -1076918 | -0.99943 | -1 | -54002.5491 | -1077576 | 19.9542 | -0.62604
| -0.52336 | -2154262 | -1.9991 | -0.99964 | -53980.5866 | -1077344 | 19.958 | 8.9273
| -1.0468 | -4309220 | -3.9983 | -1.9992 | -107958.0986 | -2154958 | 19.9611 | 44.6393
| 5.7877e-05 | 375 | 0.00022107 | 3.9985 | 215920.0406 | 4309595 | 19.9592 | -6.8548
| 0.26185 | 1077723 | 1.0002 | 0.99999 | 53999.3645 | 1077348 | 19.9511 | 2.1693
| 0.52366 | 2155075 | 2.0002 | 1 | 54001.0116 | 1077352 | 19.9506 | 12.6401
| 1.0473 | 4309774 | 4.0003 | 2 | 108001.8035 | 2154699 | 19.9506 | 33.6124
| 0.000101 | 506 | 0.00038579 | -3.9999 | -215993.2848 | -4309268 | 19.9509 | -4.525
[6 empty] | Average | 19.9545
[6 empty] | St Dev | 0.0043473
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434775 | 19.9991 |  |  |  |  | 2.4546
| 0.08728 | 358812 | 5.0008 | -14.9983 | -53994.0392 | -1075963 | 19.9274 | -1.7383
| -0.17447 | -717317 | -9.9964 | -14.9972 | -53989.8547 | -1076129 | 19.9321 | 6.5829
| -0.69796 | -2869559 | -39.9903 | -29.9938 | -107977.8375 | -2152242 | 19.9323 | 24.2943
| 0.34904 | 1434753 | 19.9988 | 59.989 | 215960.4101 | 4304312 | 19.931 | 2.2372
| 0.61092 | 2510882 | 35.003 | 15.0042 | 54015.2909 | 1076129 | 19.9227 | 19.3522
| 0.87271 | 3586994 | 50.0025 | 14.9995 | 53998.2233 | 1076112 | 19.9287 | 20.2526
| 1.0472 | 4304392 | 60.0013 | 9.9988 | 35995.8058 | 717398 | 19.93 | 18.3449
| 0.34912 | 1434924 | 20.0031 | -39.9982 | -143993.5739 | -2869468 | 19.9278 | 9.4028
[6 empty] | Average | 19.929
[6 empty] | St Dev | 0.0031462

## 11.02.2023
2023-11-02
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.0001388 | 573 | 0.00053017 |  |  |  |  | -0.093077
| -0.26173 | -1077020 | -0.99974 | -1.0003 | -54014.6281 | -1077593 | 19.95 | 1.1335
| -0.52351 | -2154406 | -1.9997 | -0.99993 | -53996.0701 | -1077386 | 19.953 | 10.542
| -1.0471 | -4309298 | -3.9996 | -1.9999 | -107993.8971 | -2154892 | 19.9538 | 33.6171
| 0.00017979 | 243 | 0.00068675 | 4.0002 | 216013.0507 | 4309541 | 19.9504 | 24.904
| 0.26203 | 1077628 | 1.0009 | 1.0002 | 54010.4554 | 1077385 | 19.9477 | 29.931
| 0.52388 | 2155004 | 2.0011 | 1.0002 | 54010.7848 | 1077376 | 19.9474 | 35.7385
| 1.0476 | 4309744 | 4.0015 | 2.0004 | 108020.0321 | 2154740 | 19.9476 | 46.4176
| 0.00016648 | 412 | 0.00063592 | -4.0008 | -216044.0175 | -4309332 | 19.9465 | 13.6875
[6 empty] | Average | 19.9496
[6 empty] | St Dev | 0.0027302
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434787 | 19.9991 |  |  |  |  | 2.1599
| 0.087282 | 358793 | 5.0009 | -14.9983 | -53993.7088 | -1075994 | 19.9281 | -0.37757
| -0.17448 | -717338 | -9.9967 | -14.9975 | -53991.176 | -1076131 | 19.9316 | 6.492
| -0.69797 | -2869574 | -39.9906 | -29.9939 | -107978.168 | -2152236 | 19.9321 | 23.1106
| 0.34904 | 1434773 | 19.9988 | 59.9894 | 215961.7314 | 4304347 | 19.9311 | 1.5411
| 0.61091 | 2510913 | 35.0026 | 15.0039 | 54013.9695 | 1076140 | 19.9234 | 17.0134
| 0.8727 | 3587023 | 50.0022 | 14.9996 | 53998.5537 | 1076110 | 19.9285 | 18.5752
| 1.0472 | 4304419 | 60.001 | 9.9988 | 35995.6956 | 717396 | 19.93 | 16.8115
| 0.3491 | 1434902 | 20.0021 | -39.9989 | -143996.2165 | -2869517 | 19.9277 | 7.0705
[6 empty] | Average | 19.9291
[6 empty] | St Dev | 0.0028377

## 10.26.2023
2023-10-26
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.00013241 | 540 | 0.00050577 |  |  |  |  | 0.23084
| -0.26183 | -1077017 | -1.0001 | -1.0006 | -54033.9551 | -1077557 | 19.9422 | 5.5386
| -0.52371 | -2154398 | -2.0004 | -1.0003 | -54017.0439 | -1077381 | 19.9452 | 18.9313
| -1.0474 | -4309332 | -4.0008 | -2.0004 | -108021.1303 | -2154934 | 19.9492 | 67.2999
| -0.015494 | -61606 | -0.059183 | 3.9416 | 212848.9486 | 4247726 | 19.9565 | -106.3407
| 0.26197 | 1077656 | 1.0006 | 1.0598 | 57230.4514 | 1139262 | 19.9066 | -9.6454
| 0.52391 | 2155029 | 2.0012 | 1.0005 | 54029.5625 | 1077373 | 19.9404 | -10.1182
| 1.0478 | 4309757 | 4.0022 | 2.001 | 108054.6227 | 2154728 | 19.9411 | -14.6635
| 5.4151e-05 | 390 | 0.00020684 | -4.002 | -216107.5982 | -4309367 | 19.9408 | -8.389
[6 empty] | Average | 19.9403
[6 empty] | St Dev | 0.014681
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434786 | 19.9991 |  |  |  |  | 0.26312
| 0.08727 | 358795 | 5.0002 | -14.9989 | -53996.0212 | -1075991 | 19.9272 | -3.2772
| -0.17449 | -717330 | -9.9974 | -14.9976 | -53991.2862 | -1076125 | 19.9315 | 4.6414
| -0.69797 | -2869562 | -39.9908 | -29.9934 | -107976.4061 | -2152232 | 19.9324 | 25.7418
| 0.34905 | 1434764 | 19.999 | 59.9898 | 215963.2729 | 4304326 | 19.9308 | 0.92648
| 0.61093 | 2510902 | 35.0035 | 15.0046 | 54016.3921 | 1076138 | 19.9224 | 17.4614
| 0.87273 | 3587012 | 50.0037 | 15.0001 | 54000.5357 | 1076110 | 19.9278 | 19.545
| 1.0472 | 4304413 | 60.003 | 9.9993 | 35997.3474 | 717401 | 19.9293 | 18.2086
| 0.34911 | 1434906 | 20.0024 | -40.0005 | -144001.9424 | -2869507 | 19.9269 | 6.1338
[6 empty] | Average | 19.9285
[6 empty] | St Dev | 0.0032028

## 07.07.2022
2022-07-07
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.00048857 | 2016 | 0.0018662 |  |  |  |  | -0.23137
| -0.26151 | -1076636 | -0.99891 | -1.0008 | -54041.7515 | -1078652 | 19.9596 | 1.2589
| -0.5231 | -2153720 | -1.9981 | -0.99919 | -53956.2086 | -1077084 | 19.9622 | 9.7313
| -1.0462 | -4307938 | -3.9964 | -1.9983 | -107906.3775 | -2154218 | 19.9638 | 35.2209
| 8.3432e-05 | 228 | 0.00031869 | 3.9967 | 215820.7713 | 4308166 | 19.9618 | 5.7857
| 0.2617 | 1077282 | 0.99964 | 0.99932 | 53963.2364 | 1077054 | 19.959 | 5.8442
| 0.52336 | 2154312 | 1.9991 | 0.99946 | 53970.7036 | 1077030 | 19.9558 | 14.5724
| 1.0467 | 4308401 | 3.998 | 1.9989 | 107941.7369 | 2154089 | 19.956 | 30.9054
| -1.52e-07 | 430 | -5.806e-07 | -3.998 | -215892.9174 | -4307971 | 19.9542 | -21.5755
[6 empty] | Average | 19.9591
[6 empty] | St Dev | 0.0034402
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434722 | 19.9986 |  |  |  |  | 0.67957
| 0.087263 | 358746 | 4.9998 | -14.9988 | -53995.5806 | -1075976 | 19.9271 | -2.4807
| -0.17449 | -717330 | -9.9974 | -14.9972 | -53989.8547 | -1076076 | 19.9311 | 5.1029
| -0.69797 | -2869422 | -39.9907 | -29.9933 | -107975.9657 | -2152092 | 19.9312 | 21.003
| 0.34904 | 1434700 | 19.9984 | 59.989 | 215960.5203 | 4304122 | 19.9301 | 0.90277
| 0.61089 | 2510799 | 35.0017 | 15.0033 | 54011.9873 | 1076099 | 19.9233 | 14.2976
| 0.87269 | 3586884 | 50.0015 | 14.9998 | 53999.2144 | 1076085 | 19.9278 | 15.6221
| 1.0472 | 4304260 | 60.0007 | 9.9992 | 35997.2375 | 717376 | 19.9286 | 14.9688
| 0.34909 | 1434812 | 20.0011 | -39.9996 | -143998.529 | -2869448 | 19.9269 | 5.1928
[6 empty] | Average | 19.9283
[6 empty] | St Dev | 0.0026152

## 06.20.2022
2022-06-20
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.00013081 | 532 | 0.00049967 |  |  |  |  | 0.31943
| -0.26161 | -1076664 | -0.99929 | -0.99979 | -53988.4929 | -1077196 | 19.9523 | -1.4484
| -0.52332 | -2153722 | -1.9989 | -0.99965 | -53981.2456 | -1077058 | 19.9524 | -2.8851
| -1.0466 | -4307950 | -3.9978 | -1.9989 | -107940.419 | -2154228 | 19.9576 | 21.9268
| -1.3462e-05 | 263 | -5.1421e-05 | 3.9978 | 215880.3988 | 4308213 | 19.9565 | -15.9577
| 0.26173 | 1077313 | 0.99975 | 0.9998 | 53989.0422 | 1077050 | 19.9494 | -6.3234
| 0.52347 | 2154355 | 1.9995 | 0.99974 | 53986.1871 | 1077042 | 19.9503 | 0.85668
| 1.0468 | 4308428 | 3.9986 | 1.9991 | 107954.0356 | 2154073 | 19.9536 | -2.5704
| 1.5819e-05 | 402 | 6.0424e-05 | -3.9986 | -215923.2253 | -4308026 | 19.9517 | -16.8845
[6 empty] | Average | 19.953
[6 empty] | St Dev | 0.0028253
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434699 | 19.9985 |  |  |  |  | 0.48984
| 0.087259 | 358712 | 4.9996 | -14.999 | -53996.3514 | -1075987 | 19.927 | -2.0465
| -0.1745 | -717363 | -9.998 | -14.9975 | -53991.0661 | -1076075 | 19.9306 | 5.1184
| -0.69798 | -2869452 | -39.9914 | -29.9934 | -107976.1858 | -2152089 | 19.9311 | 22.3337
| 0.34905 | 1434692 | 19.9991 | 59.9904 | 215965.5853 | 4304144 | 19.9298 | 2.8231
| 0.61091 | 2510793 | 35.0028 | 15.0037 | 54013.1987 | 1076101 | 19.9229 | 16.4861
| 0.87271 | 3586873 | 50.0028 | 15.0001 | 54000.3154 | 1076080 | 19.9273 | 18.3196
| 1.0472 | 4304252 | 60.0023 | 9.9994 | 35998.0081 | 717379 | 19.9283 | 17.7245
| 0.3491 | 1434797 | 20.0021 | -40.0002 | -144000.731 | -2869455 | 19.9267 | 8.3453
[6 empty] | Average | 19.928
[6 empty] | St Dev | 0.0026422

## 04.09.2019
2019-04-09
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.0013989 | 5812 | 0.0053436 |  |  |  |  | -2.8201
| -0.26169 | -1077290 | -0.99958 | -1.0049 | -54265.8764 | -1083102 | 19.9592 | 30.428
| -0.52343 | -2154880 | -1.9993 | -0.99976 | -53987.2853 | -1077590 | 19.9601 | 65.9343
| -1.0472 | -4310100 | -3.9998 | -2.0005 | -108026.9502 | -2155220 | 19.9508 | 86.5726
| 0.00046302 | 248 | 0.0017686 | 4.0016 | 216087.0637 | 4310348 | 19.9473 | 83.0715
| 0.26237 | 1077834 | 1.0022 | 1.0004 | 54022.6444 | 1077586 | 19.9469 | 83.1249
| 0.52437 | 2155381 | 2.0029 | 1.0008 | 54040.6534 | 1077547 | 19.9396 | 103.1424
| 1.0485 | 4310382 | 4.005 | 2.002 | 108109.9677 | 2155001 | 19.9334 | 176.5007
| 0.0004758 | 281 | 0.0018174 | -4.0032 | -216170.63 | -4310101 | 19.9384 | 84.0526
[6 empty] | Average | 19.947
[6 empty] | St Dev | 0.0096114
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434588 | 19.9984 |  |  |  |  | 2.7418
| 0.087272 | 358754 | 5.0003 | -14.998 | -53992.9379 | -1075834 | 19.9255 | -2.0658
| -0.17448 | -717240 | -9.9971 | -14.9974 | -53990.6255 | -1075994 | 19.9293 | 3.4682
| -0.69795 | -2869234 | -39.9894 | -29.9923 | -107972.3319 | -2151994 | 19.931 | 23.7564
| 0.34901 | 1434576 | 19.9971 | 59.9865 | 215951.2705 | 4303810 | 19.9295 | -1.2808
| 0.61088 | 2510591 | 35.0008 | 15.0038 | 54013.5292 | 1076015 | 19.9212 | 15.0349
| 0.87266 | 3586574 | 49.9999 | 14.999 | 53996.5717 | 1075983 | 19.9269 | 15.9991
| 1.0472 | 4303896 | 59.9987 | 9.9988 | 35995.6956 | 717322 | 19.928 | 14.6231
| 0.34911 | 1434754 | 20.0025 | -39.9961 | -143986.0862 | -2869142 | 19.9265 | 9.4969
[6 empty] | Average | 19.9272
[6 empty] | St Dev | 0.0030266

## 03.10.2017
2017-03-10
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 1.6884e-05 | 60 | 6.4492e-05 |  |  |  |  | 0.47574
| -0.26167 | -1076862 | -0.99949 | -0.99956 | -53975.9745 | -1076922 | 19.9519 | -6.7127
| -0.52326 | -2153802 | -1.9987 | -0.99923 | -53958.6246 | -1076940 | 19.9586 | 4.3508
| -1.0464 | -4307638 | -3.9968 | -1.9981 | -107894.7376 | -2153836 | 19.9624 | 46.7844
| 2.51e-06 | 28 | 9.5875e-06 | 3.9968 | 215826.3718 | 4307666 | 19.9589 | -0.88547
| 0.26175 | 1076962 | 0.9998 | 0.9998 | 53988.9323 | 1076934 | 19.9473 | 18.6594
| 0.52345 | 2153878 | 1.9994 | 0.99962 | 53979.4887 | 1076916 | 19.9505 | 29.6627
| 1.0467 | 4307650 | 3.9982 | 1.9988 | 107934.8185 | 2153772 | 19.9544 | 30.5174
| 3.3388e-05 | 12 | 0.00012753 | -3.9981 | -215896.8704 | -4307638 | 19.9523 | 6.2854
[6 empty] | Average | 19.9545
[6 empty] | St Dev | 0.005051
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434611 | 19.9986 |  |  |  |  | -2.0725
| 0.087269 | 358766 | 5.0001 | -14.9985 | -53994.5895 | -1075845 | 19.9251 | -4.4918
| -0.1745 | -717247 | -9.998 | -14.9981 | -53993.2684 | -1076013 | 19.9287 | 2.8413
| -0.69803 | -2869287 | -39.9943 | -29.9963 | -107986.5366 | -2152040 | 19.9288 | 18.2102
| 0.34904 | 1434592 | 19.9985 | 59.9927 | 215973.8439 | 4303879 | 19.9278 | -1.6695
| 0.61091 | 2510628 | 35.0024 | 15.004 | 54014.3 | 1076036 | 19.9213 | 10.8748
| 0.87272 | 3586640 | 50.003 | 15.0005 | 54001.9672 | 1076012 | 19.9254 | 12.2907
| 1.0472 | 4303959 | 60.0028 | 9.9998 | 35999.3294 | 717319 | 19.9259 | 12.3734
| 0.34911 | 1434796 | 20.0026 | -40.0002 | -144000.6211 | -2869163 | 19.9247 | 3.068
[6 empty] | Average | 19.9259
[6 empty] | St Dev | 0.0024749

## 03.11.2016
2016-03-11
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.3994e-05 | -52 | -5.3453e-05 |  |  |  |  | -0.27901
| -0.26176 | -1076508 | -0.99983 | -0.99978 | -53988.0538 | -1076456 | 19.9388 | -11.1952
| -0.52341 | -2152992 | -1.9993 | -0.99946 | -53970.7036 | -1076484 | 19.9457 | -3.3573
| -1.0465 | -4305967 | -3.9975 | -1.9982 | -107903.3029 | -2152975 | 19.9528 | 50.774
| -4.6469e-05 | -54 | -0.0001775 | 3.9973 | 215855.3619 | 4305913 | 19.9481 | -6.8772
| 0.26172 | 1076450 | 0.99971 | 0.99988 | 53993.764 | 1076504 | 19.9376 | 7.3424
| 0.52345 | 2152969 | 1.9994 | 0.99974 | 53986.0772 | 1076519 | 19.9407 | 13.123
| 1.0469 | 4305920 | 3.9988 | 1.9994 | 107965.3462 | 2152951 | 19.9411 | 22.2384
| -0.00017797 | -69 | -0.00067978 | -3.9995 | -215972.3108 | -4305989 | 19.9377 | -33.2484
[6 empty] | Average | 19.9428
[6 empty] | St Dev | 0.0055335
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434525 | 19.9992 |  |  |  |  | 5.024
| 0.087314 | 358800 | 5.0027 | -14.9964 | -53987.212 | -1075725 | 19.9256 | 3.3611
| -0.17442 | -717112 | -9.9937 | -14.9964 | -53986.9917 | -1075912 | 19.9291 | 11.3031
| -0.6979 | -2868923 | -39.9865 | -29.9928 | -107974.2038 | -2151811 | 19.9289 | 26.3145
| 0.34903 | 1434440 | 19.9981 | 59.9846 | 215944.6639 | 4303363 | 19.9281 | 5.546
| 0.61087 | 2510374 | 35.0005 | 15.0024 | 54008.4639 | 1075934 | 19.9216 | 17.9721
| 0.87266 | 3586280 | 49.9996 | 14.9991 | 53996.7918 | 1075906 | 19.9254 | 20.1313
| 1.0472 | 4303544 | 59.9986 | 9.999 | 35996.4664 | 717264 | 19.926 | 20.5105
| 0.34911 | 1434670 | 20.0027 | -39.996 | -143985.4254 | -2868874 | 19.9248 | 10.3002
[6 empty] | Average | 19.9262
[6 empty] | St Dev | 0.0025074

## 10.28.2011
2011-10-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -8.67e-06 | -31 | -3.3117e-05 |  |  |  |  | -0.23325
| -0.26214 | -1077820 | -1.0013 | -1.0012 | -54067.4474 | -1077789 | 19.9342 | -2.1356
| -0.52425 | -2155646 | -2.0025 | -1.0012 | -54065.9101 | -1077826 | 19.9354 | -0.64453
| -1.0484 | -4311254 | -4.0047 | -2.0022 | -108119.3016 | -2155608 | 19.9373 | 12.649
| -6.7764e-05 | 0 | -0.00025884 | 4.0045 | 216240.4701 | 4311254 | 19.9373 | -13.9773
| 0.26206 | 1077838 | 1.001 | 1.0013 | 54068.1062 | 1077838 | 19.9348 | -13.8742
| 0.52418 | 2155649 | 2.0022 | 1.0012 | 54066.5689 | 1077811 | 19.9349 | -13.954
| 1.0485 | 4311214 | 4.0048 | 2.0026 | 108141.1541 | 2155565 | 19.9329 | -3.2379
| -0.00017211 | -44 | -0.00065742 | -4.0055 | -216297.3523 | -4311258 | 19.9321 | -33.2933
[6 empty] | Average | 19.9349
[6 empty] | St Dev | 0.0018672
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434506 | 19.999 |  |  |  |  | -0.72055
| 0.087282 | 358769 | 5.0009 | -14.9982 | -53993.3783 | -1075737 | 19.9235 | -3.3375
| -0.17446 | -717103 | -9.996 | -14.9969 | -53988.8638 | -1075872 | 19.9277 | 5.3357
| -0.69795 | -2868860 | -39.9895 | -29.9935 | -107976.5162 | -2151757 | 19.928 | 24.546
| 0.34905 | 1434447 | 19.9989 | 59.9884 | 215958.318 | 4303307 | 19.9266 | 1.8003
| 0.6109 | 2510343 | 35.0021 | 15.0032 | 54011.547 | 1075896 | 19.9197 | 14.6057
| 0.8727 | 3586224 | 50.0022 | 15.0001 | 54000.4258 | 1075881 | 19.9236 | 17.0427
| 1.0472 | 4303471 | 60.002 | 9.9998 | 35999.3294 | 717247 | 19.9239 | 18.0643
| 0.34911 | 1434623 | 20.0025 | -39.9996 | -143998.4188 | -2868848 | 19.9228 | 5.8502
[6 empty] | Average | 19.9245
[6 empty] | St Dev | 0.0027889

## 10.12.2011
2011-10-12
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -0.00031639 | -1306 | -0.0012085 |  |  |  |  | 0.2651
| -0.26218 | -1077823 | -1.0014 | -1.0002 | -54012.8712 | -1076517 | 19.9307 | -1.791
| -0.52434 | -2155659 | -2.0028 | -1.0014 | -54074.5852 | -1077836 | 19.9324 | 0.61545
| -1.0486 | -4311274 | -4.0054 | -2.0026 | -108138.5185 | -2155615 | 19.9338 | 13.2206
| -3.5289e-05 | 13 | -0.00013479 | 4.0053 | 216283.9552 | 4311287 | 19.9335 | -7.9311
| 0.26215 | 1077855 | 1.0013 | 1.0015 | 54079.0873 | 1077842 | 19.9308 | -6.1365
| 0.52431 | 2155670 | 2.0027 | 1.0014 | 54074.9146 | 1077815 | 19.9319 | -7.16
| 1.0487 | 4311249 | 4.0057 | 2.0029 | 108158.614 | 2155579 | 19.9298 | 2.1367
| -0.00012633 | -42 | -0.00048253 | -4.0061 | -216331.3937 | -4311291 | 19.9291 | -23.9494
[6 empty] | Average | 19.9315
[6 empty] | St Dev | 0.001684
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434486 | 19.9991 |  |  |  |  | 0.38709
| 0.087279 | 358740 | 5.0007 | -14.9983 | -53994.039 | -1075746 | 19.9234 | -2.3515
| -0.17447 | -717156 | -9.9965 | -14.9973 | -53990.1851 | -1075896 | 19.9276 | 6.2923
| -0.69797 | -2868953 | -39.9906 | -29.9941 | -107978.8287 | -2151797 | 19.928 | 25.3723
| 0.34906 | 1434454 | 19.9997 | 59.9904 | 215965.3652 | 4303407 | 19.9264 | 4.3056
| 0.61092 | 2510368 | 35.0032 | 15.0035 | 54012.6482 | 1075914 | 19.9197 | 17.2215
| 0.87273 | 3586255 | 50.0035 | 15.0002 | 54000.8659 | 1075887 | 19.9235 | 19.7103
| 1.0473 | 4303515 | 60.0034 | 9.9999 | 35999.6598 | 717260 | 19.9241 | 20.3516
| 0.34913 | 1434631 | 20.0034 | -40 | -143999.8503 | -2868884 | 19.9228 | 8.7457
[6 empty] | Average | 19.9244
[6 empty] | St Dev | 0.0027676

## 08.09.2011
2011-08-09
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.1864e-05 | -53 | -4.5317e-05 |  |  |  |  | 0.20854
| -0.26185 | -1077836 | -1.0002 | -1.0001 | -54007.7102 | -1077783 | 19.9561 | -3.0857
| -0.52365 | -2155689 | -2.0002 | -1 | -54000.1331 | -1077853 | 19.9602 | 4.7046
| -1.0472 | -4311340 | -3.9999 | -1.9997 | -107982.4766 | -2155651 | 19.963 | 35.3189
| -3.7951e-05 | 58 | -0.00014496 | 3.9997 | 215984.9391 | 4311398 | 19.9616 | -10.7342
| 0.26183 | 1077897 | 1.0001 | 1.0003 | 54013.7497 | 1077839 | 19.9549 | -4.2064
| 0.5237 | 2155705 | 2.0004 | 1.0003 | 54014.8478 | 1077808 | 19.9539 | 4.9728
| 1.0474 | 4311305 | 4.0009 | 2.0005 | 108026.2914 | 2155600 | 19.9544 | 20.7287
| -7.2023e-05 | -92 | -0.00027511 | -4.0011 | -216061.9167 | -4311397 | 19.9545 | -10.246
[6 empty] | Average | 19.9573
[6 empty] | St Dev | 0.003662
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34906 | 1434507 | 19.9995 |  |  |  |  | -1.3738
| 0.087259 | 358694 | 4.9996 | -14.9999 | -53999.6548 | -1075813 | 19.9226 | -4.8443
| -0.17451 | -717223 | -9.9986 | -14.9982 | -53993.3785 | -1075917 | 19.9268 | 3.1812
| -0.69802 | -2869032 | -39.9935 | -29.9949 | -107981.4713 | -2151809 | 19.9276 | 23.2634
| 0.34907 | 1434492 | 20.0002 | 59.9936 | 215977.0371 | 4303524 | 19.9258 | 1.9115
| 0.61094 | 2510427 | 35.0043 | 15.0041 | 54014.8505 | 1075935 | 19.9192 | 14.4545
| 0.87275 | 3586326 | 50.0052 | 15.0009 | 54003.1786 | 1075899 | 19.9229 | 17.1324
| 1.0473 | 4303591 | 60.0053 | 10.0002 | 36000.6507 | 717265 | 19.9237 | 17.4995
| 0.34912 | 1434607 | 20.003 | -40.0023 | -144008.4392 | -2868984 | 19.9223 | 6.3802
[6 empty] | Average | 19.9239
[6 empty] | St Dev | 0.0027467

## 04.28.2011
2011-04-28
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -1.4526e-05 | -49 | -5.5485e-05 |  |  |  |  | -0.54122
| -0.26174 | -1077474 | -0.99977 | -0.99971 | -53984.5399 | -1077425 | 19.958 | -4.2296
| -0.52342 | -2154946 | -1.9993 | -0.99954 | -53975.0962 | -1077472 | 19.9624 | 3.8804
| -1.0467 | -4309842 | -3.9982 | -1.9989 | -107938.113 | -2154896 | 19.9642 | 29.775
| -2.5174e-05 | -3 | -9.6158e-05 | 3.9981 | 215895.5528 | 4309839 | 19.9626 | -5.0422
| 0.26172 | 1077478 | 0.99969 | 0.99979 | 53988.6029 | 1077481 | 19.9576 | -0.096506
| 0.52347 | 2154930 | 1.9995 | 0.9998 | 53989.2619 | 1077452 | 19.9568 | 6.9612
| 1.0469 | 4309788 | 3.999 | 1.9995 | 107975.6683 | 2154858 | 19.9569 | 20.5256
| -6.1908e-05 | -82 | -0.00023647 | -3.9993 | -215961.11 | -4309870 | 19.9567 | -8.6611
[6 empty] | Average | 19.9594
[6 empty] | St Dev | 0.0031135
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434574 | 19.9989 |  |  |  |  | -5.9683
| 0.087259 | 358767 | 4.9996 | -14.9993 | -53997.5626 | -1075807 | 19.9233 | -8.2931
| -0.17452 | -717217 | -9.9993 | -14.9989 | -53996.0212 | -1075984 | 19.9271 | -0.19277
| -0.69807 | -2869174 | -39.9964 | -29.9971 | -107989.5095 | -2151957 | 19.9275 | 17.9887
| 0.34905 | 1434538 | 19.9991 | 59.9956 | 215984.0844 | 4303712 | 19.9261 | -3.1703
| 0.61093 | 2510527 | 35.0037 | 15.0046 | 54016.3919 | 1075989 | 19.9197 | 8.8491
| 0.87275 | 3586484 | 50.005 | 15.0013 | 54004.72 | 1075957 | 19.9234 | 10.8028
| 1.0473 | 4303795 | 60.006 | 10.001 | 36003.5139 | 717311 | 19.9234 | 12.1545
| 0.34912 | 1434728 | 20.003 | -40.003 | -144010.8617 | -2869067 | 19.9226 | 1.0575
[6 empty] | Average | 19.9241
[6 empty] | St Dev | 0.0026138

## 01.14.2010
2010-01-14
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 4.639e-06 | 26 | 1.772e-05 |  |  |  |  | -0.346
| -0.26178 | -1077436 | -0.99991 | -0.99993 | -53996.2895 | -1077462 | 19.9544 | -5.0047
| -0.5235 | -2154887 | -1.9996 | -0.9997 | -53983.7713 | -1077451 | 19.9588 | 2.3035
| -1.0469 | -4309813 | -3.9989 | -1.9993 | -107962.1616 | -2154926 | 19.96 | 23.5038
| -3.7419e-05 | -55 | -0.00014293 | 3.9988 | 215933.5474 | 4309758 | 19.9587 | -4.9622
| 0.26176 | 1077412 | 0.99984 | 0.99998 | 53998.8155 | 1077467 | 19.9535 | 1.9719
| 0.52353 | 2154873 | 1.9997 | 0.9999 | 53994.5326 | 1077461 | 19.955 | 4.9238
| 1.0471 | 4309765 | 3.9995 | 1.9998 | 107987.9674 | 2154892 | 19.9549 | 11.2331
| -9.3319e-05 | -23 | -0.00035645 | -3.9999 | -215992.8457 | -4309788 | 19.9534 | -18.0959
[6 empty] | Average | 19.9561
[6 empty] | St Dev | 0.0026458
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434554 | 19.9984 |  |  |  |  | -0.736
| 0.087285 | 358781 | 5.0011 | -14.9973 | -53990.1851 | -1075773 | 19.9253 | -1.9644
| -0.17446 | -717155 | -9.9957 | -14.9968 | -53988.4232 | -1075936 | 19.929 | 6.7494
| -0.69795 | -2869025 | -39.9898 | -29.9941 | -107978.6084 | -2151870 | 19.9287 | 22.3147
| 0.34903 | 1434502 | 19.9981 | 59.9878 | 215956.2256 | 4303527 | 19.9278 | 0.88258
| 0.61089 | 2510459 | 35.0012 | 15.0031 | 54011.3269 | 1075957 | 19.921 | 14.0185
| 0.87268 | 3586402 | 50.0012 | 14.9999 | 53999.7649 | 1075943 | 19.925 | 16.2951
| 1.0472 | 4303703 | 60.001 | 9.9998 | 35999.4395 | 717301 | 19.9253 | 17.1247
| 0.34911 | 1434699 | 20.0024 | -39.9986 | -143995.0053 | -2869004 | 19.9243 | 6.5219
[6 empty] | Average | 19.9258
[6 empty] | St Dev | 0.0026528

## 07.14.2009
2009-07-14
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -4.4872e-05 | -58 | -0.0001714 |  |  |  |  | -6.3487
| -0.26176 | -1076954 | -0.99986 | -0.99969 | -53983.332 | -1076896 | 19.9487 | -17.8461
| -0.52345 | -2153958 | -1.9994 | -0.99956 | -53975.9745 | -1077004 | 19.9534 | -16.5734
| -1.0467 | -4307966 | -3.9982 | -1.9988 | -107935.1482 | -2154008 | 19.9565 | 2.773
| -9.7045e-05 | -43 | -0.00037068 | 3.9978 | 215883.6932 | 4307923 | 19.9548 | -17.8619
| 0.26163 | 1076972 | 0.99934 | 0.99971 | 53984.2105 | 1077015 | 19.9506 | -11.45
| 0.52333 | 2153978 | 1.999 | 0.99963 | 53979.8179 | 1077006 | 19.952 | -8.9797
| 1.0467 | 4307941 | 3.998 | 1.999 | 107947.6666 | 2153963 | 19.9538 | -13.5523
| -2.0915e-05 | 26 | -7.9889e-05 | -3.9981 | -215895.992 | -4307915 | 19.9537 | -5.6171
[6 empty] | Average | 19.9529
[6 empty] | St Dev | 0.0024614
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34905 | 1434500 | 19.9989 |  |  |  |  | 2.7871
| 0.087276 | 358706 | 5.0006 | -14.9984 | -53994.1493 | -1075794 | 19.9243 | -0.39238
| -0.17447 | -717196 | -9.9962 | -14.9967 | -53988.2029 | -1075902 | 19.9285 | 7.7947
| -0.69794 | -2868965 | -39.9891 | -29.9929 | -107974.5342 | -2151769 | 19.9285 | 24.284
| 0.34905 | 1434477 | 19.9994 | 59.9885 | 215958.4279 | 4303442 | 19.9272 | 5.4829
| 0.6109 | 2510413 | 35.0023 | 15.0029 | 54010.4461 | 1075936 | 19.9209 | 17.8326
| 0.8727 | 3586321 | 50.0018 | 14.9996 | 53998.4436 | 1075908 | 19.9248 | 19.585
| 1.0472 | 4303596 | 60.0013 | 9.9994 | 35998.0081 | 717275 | 19.9254 | 19.6484
| 0.34911 | 1434625 | 20.0026 | -39.9987 | -143995.3358 | -2868971 | 19.9241 | 9.6171
[6 empty] | Average | 19.9254
[6 empty] | St Dev | 0.0025601

## 11.25.2008
2008-11-25
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -0.00012473 | -514 | -0.00047643 |  |  |  |  | 0.044948
| -0.26191 | -1077370 | -1.0004 | -0.99995 | -53997.0583 | -1076856 | 19.9429 | -3.0538
| -0.52381 | -2154794 | -2.0008 | -1.0004 | -54020.009 | -1077424 | 19.9449 | -0.62354
| -1.0475 | -4309518 | -4.0012 | -2.0004 | -108023.2168 | -2154724 | 19.9469 | 14.8207
| -1.1864e-05 | 102 | -4.5317e-05 | 4.0012 | 216063.5642 | 4309620 | 19.9461 | -7.5614
| 0.26187 | 1077459 | 1.0003 | 1.0003 | 54016.4948 | 1077357 | 19.945 | -10.1465
| 0.52377 | 2154810 | 2.0007 | 1.0004 | 54021.5463 | 1077351 | 19.943 | -7.3792
| 1.0476 | 4309514 | 4.0016 | 2.001 | 108052.4266 | 2154704 | 19.9413 | 7.3891
| -8.3203e-05 | -84 | -0.00031781 | -4.0019 | -216105.1824 | -4309598 | 19.9421 | -12.9501
[6 empty] | Average | 19.944
[6 empty] | St Dev | 0.0019793
| Dec APES radians | counts | radians to Degrees | Dist APE(Deg) | Dist (AS) | Dist Cnt | Ratio | Using Ration
| 0.34904 | 1434586 | 19.9988 |  |  |  |  | -6.148
| 0.087238 | 358708 | 4.9984 | -15.0004 | -54001.5266 | -1075878 | 19.9231 | -9.438
| -0.17453 | -717261 | -10 | -14.9984 | -53994.2593 | -1075969 | 19.9275 | -0.89341
| -0.69805 | -2869146 | -39.9953 | -29.9953 | -107982.9028 | -2151885 | 19.928 | 19.1515
| 0.34905 | 1434557 | 19.9989 | 59.9942 | 215979.2394 | 4303703 | 19.9265 | -4.1417
| 0.61093 | 2510551 | 35.0038 | 15.0048 | 54017.383 | 1075994 | 19.9194 | 9.1826
| 0.87276 | 3586528 | 50.0054 | 15.0016 | 54005.7111 | 1075977 | 19.9234 | 11.6884
| 1.0473 | 4303854 | 60.0062 | 10.0008 | 36002.9632 | 717326 | 19.9241 | 12.1131
| 0.34909 | 1434675 | 20.0017 | -40.0045 | -144016.2572 | -2869179 | 19.9226 | -0.2641
[6 empty] | Average | 19.9243
[6 empty] | St Dev | 0.0028712

## 7.15.2008
2008-07-15
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| 0.17656 | 726442 | 0.67441 |  |  |  |  | 10.8987
| -0.27242 | -1120979 | -1.0406 | -1.715 | -92608.8983 | -1847421 | 19.9486 | -10.5054
| -0.52668 | -2167249 | -2.0118 | -0.97119 | -52444.3269 | -1046270 | 19.9501 | -18.7511
| -1.0603 | -4363557 | -4.0501 | -2.0383 | -110069.8794 | -2196308 | 19.9538 | -15.9106
| 0.1766 | 726441 | 0.67456 | 4.7247 | 255131.1209 | 5089998 | 19.9505 | 18.9651
| 0.43649 | 1796020 | 1.6673 | 0.9927 | 53605.5811 | 1069579 | 19.9528 | 20.2841
| 0.7026 | 2891222 | 2.6837 | 1.0165 | 54889.3848 | 1095202 | 19.9529 | 21.2548
| 1.0542 | 4338710 | 4.0267 | 1.3429 | 72518.1573 | 1447488 | 19.9604 | -4.5758
| -0.0010665 | -5103 | -0.0040738 | -4.0307 | -217659.2316 | -4343813 | 19.9569 | 35.7646
[6 empty] | Average | 19.9532
[6 empty] | St Dev | 0.0038428
| Dec APES radians | counts | radians to Degrees | Dist APE(hr) |  | Dist Cnt | Ratio | Using Ration
| 0.34505 | 1418026 | 19.77 |  |  |  |  | 3.1027
| 0.084584 | 347577 | 4.8463 | -14.9237 |  | -1070449 | 19.9245 | 2.1724
| -0.18419 | -757144 | -10.5533 | -15.3996 |  | -1104721 | 19.927 | 8.2768
| -0.69599 | -2860950 | -39.8772 | -29.3239 |  | -2103806 | 19.9288 | 29.406
| 0.34063 | 1399759 | 19.5165 | 59.3937 |  | 4260709 | 19.9268 | 7.501
| 0.60705 | 2494519 | 34.7816 | 15.2651 |  | 1094760 | 19.9213 | 17.1581
| 0.86394 | 3550172 | 49.5 | 14.7184 |  | 1055653 | 19.9232 | 21.3797
| 1.0478 | 4305743 | 60.0344 | 10.5344 |  | 755571 | 19.9234 | 24.1505
| 0.34153 | 1403314 | 19.568 | -40.4663 |  | -2902429 | 19.9235 | 14.4008
[6 empty] | Average | 19.9248
[6 empty] | St Dev | 0.002498

## 7.14.2008
2008-07-14
| HA APES radians | Counts | radians to hours | Dist APE(hr) | Dist_as | Dist Cnt | Ratio | Using Ration
| -3.6361e-06 | -16 | -1.3889e-05 |  |  |  |  | 0.052025
| -0.26169 | -1076555 | -0.99959 | -0.99957 | -53977.05 | -1076539 | 19.9444 | -13.8009
| -0.52333 | -2153070 | -1.999 | -0.99937 | -53965.95 | -1076515 | 19.948 | -17.7568
| -1.0465 | -4305799 | -3.9972 | -1.9982 | -107902.6499 | -2152729 | 19.9507 | -11.5067
| -5.5996e-05 | -14 | -0.00021389 | 3.9969 | 215834.8499 | 4305785 | 19.9494 | -10.8482
| 0.26158 | 1076526 | 0.99918 | 0.99939 | 53967.1501 | 1076540 | 19.9481 | -6.9454
| 0.52318 | 2153040 | 1.9984 | 0.99923 | 53958.5998 | 1076514 | 19.9507 | -10.2895
| 1.0463 | 4305770 | 3.9964 | 1.998 | 107892.75 | 2152730 | 19.9525 | -26.4897
| 9.454e-06 | -15 | 3.6112e-05 | -3.9964 | -215804.9999 | -4305785 | 19.9522 | 2.7019
[6 empty] | Average | 19.9495
[6 empty] | St Dev | 0.0026607
| Dec APES radians | counts | radians to Degrees | Dist APE(hr) |  | Dist Cnt | Ratio | Using Ration
| 0.34906 | 1434539 | 19.9999 |  |  |  |  | 7.5055
| 0.086834 | 356800 | 4.9752 | -15.0248 |  | -1077739 | 19.9253 | 4.7032
| -0.17532 | -720907 | -10.0453 | -15.0204 |  | -1077707 | 19.9304 | 15.795
| -0.69957 | -2875908 | -40.0823 | -30.0371 |  | -2155001 | 19.9291 | 31.0524
| 0.34905 | 1434539 | 19.9993 | 60.0816 |  | 4310447 | 19.9287 | 5.1054
| 0.61134 | 2512277 | 35.027 | 15.0278 |  | 1077738 | 19.9213 | 18.7579
| 0.87356 | 3589983 | 50.0511 | 15.0241 |  | 1077706 | 19.9255 | 20.8162
| 1.0484 | 4308410 | 60.0667 | 10.0156 |  | 718427 | 19.9252 | 22.7799
| 0.34909 | 1434538 | 20.0014 | -40.0653 |  | -2873872 | 19.9249 | 12.7556
[6 empty] | Average | 19.9263
[6 empty] | St Dev | 0.0029362